## Sheet1
Walk-in Fridge Salad Room
Item | Description | No | Unit | Rate | Cost U$
A | Utilization
A1 | Equipment mobilization/ material transportation | 1 | Lot |  | 0
| e/o |  |  |  | 0
B | Demolition and site preparations
B1 | Demolish and retrofit | 37 | m3 |  | 0
B2 | e/o |  |  |  | 0
C | Thermal insulating
C1 | Supply and Placement of Food grade insulation panels | 88 | m2 |  | 0
C2 | Supply and Placement of Indusrial-grade insulated Fridge door | 1 | Each |  | 0
C3 | e/o |  |  |  | 0
D | AC/Condensing unit instalation
D1 | Supply and install AC/refrigeration unit | 1 | Each |  | 0
D2 | Suply and instal electrical connections | 1 | Lot |  | 0
D3 | Suply and instal system control/monitor panel with alarm | 1 | Each |  | 0
D4 | Suply and instal materials for condensation drainage | 1 | Lot |  | 0
D5 | e/o |  |  |  | 0
| Total |  |  |  | 0